Recently there has been a significant increase in the number of Long Term Care facilities who are admitting residents with a Tracheostomy. This type of resident requires special care and equipment. In order for a facility to admit a resident with a Tracheostomy, the facility must have specially trained staff who are competent to perform Tracheostomy care, suctioning and who can provide care to the Tracheostomy site. The resident and the breathing tube/equipment must be properly monitored by the facility nursing staff.

CMS has provided some Guidance to facilities under the Guidance for Surveyors: F-328 Special Needs; Tracheotomy Care.

Procedure §483.25(k) (4) (includes care of the Tracheostomy site)

Observations for tracheotomy care are most appropriate for residents with new or relatively new tracheostomies, and may not be appropriate for those tracheostomies of long standing.

Probes § 483.25(k) (4) (includes care of the Tracheostomy site)

- Is the skin around the tracheotomy clean and dry? Are the dressings and ties clean and dry, with the cannula secured?

- Does the resident have signs of an obstructed airway or need for suctioning (e.g., secretions draining from the mouth or tracheostomy; unable to cough to clear chest; audible crackles or wheezes; dyspneic, restless or agitate)?

- If appropriate for specific resident, is there a suction machine and catheter immediately available?

- Is there an extra cannula of the correct size at the bedside or other place easily accessible if needed in an emergency?

If sampled residents receive one or more of these services within 7 days of the survey:

- Is suction machine available for immediate use, clean, working, and available to a source of emergency power?\Is there an adequate supply of easily accessible suction catheters?

The facility may want to review their policy and procedures for Tracheostomy care and review for necessary equipment requirements at bedside and/or immediate availability.

Two audit forms are available on the LTCPU web site:

- Audit Tool for Residents with a Tracheostomy – Physician’s Orders

- Audit Tool for Residents with a Tracheostomy – Bedside Equipment

NOTE: The above excerpt of F-328 does not include all of the different items listed under this Federal Tag. We encourage you to review the entire Tag in your State Operations Manual.

Resource: The Facility Guide to OBRA Regulations and the Long Term Care Survey Process