## Policy

This policy is to provide guidelines for the disinfection of capillary-blood sampling devices to prevent transmission of blood borne diseases to residents and employees.

## Procedure

- Gather equipment and supplies:  Disinfectant wipe (may insert name of wipe that is to be used by the facility), Glucometer, Gloves as indicated.

- Wash hands according to facility policy.

- If resident is present for cleaning of glucometer, provide privacy, and explain the procedure to the resident. Remove gloves and wash hands prior to exiting the resident’s room.

- Reapply gloves if there is visible contamination of the device or if the resident is HIV or HBsAg positive.

- Take disinfectant wipe from container.

- Cleanse the glucometer thoroughly with the disinfectant wipe.

- Discard disinfectant wipe in waste receptacle.

- Allow device to dry for minimum of two (2) minutes or per manufacturer recommendations. DO NOT wipe dry.

- Wash hands or use alcohol gel as appropriate.

## Responsibility

The Director of Nursing is responsible for compliance with this policy.